Biotechnology Aptitude and Competency Exam (BACE) Content Guide:

Supporting Candidate Preparation and Curriculum Alignment

Contents

Introduction	2

BACE Knowledge Portion	2

Category 10 - Technical Skills & Applications	2

Category 11- Safety & Workplace Culture	9

Category 12 - Biochemistry & Molecular Biology	13

Category 13 - Regulation & Quality	16

BACE Practical Portion	21

Category 14 - Biotechnology Skills	21

Category 15- Applied Mathematics	24

Category 16 - Standard Equipment	27

Category 17 - Experimental Design & Data Analysis	31

# Introduction

The BACE Content Guide is designed to help candidates and educators understand the knowledge and skills assessed by the Biotechnology Aptitude and Competency Exam (BACE). This guide includes BACE Content Categories 10–17, which are the only categories intended for candidate preparation and curriculum alignment.

- For candidates, the guide provides a framework for preparing for the exam by identifying the content areas and competencies they should be prepared to demonstrate. It can be used to identify areas of strength, recognize topics that may require additional review, and guide exam preparation.

- For educators, the guide supports curriculum alignment by providing a clear view of the knowledge and skills measured by the BACE. Educators can use it to compare existing curriculum and learning activities with BACE content, identify potential gaps, and strengthen opportunities for students to develop relevant biotechnology knowledge and skills.

The guide is intended to support preparation and alignment rather than prescribe a specific curriculum or serve as a comprehensive study guide. Candidates are responsible for developing the breadth and depth of knowledge and skills necessary to demonstrate competency across the assessed content areas. The skills highlighted below are representative and should not be considered an exhaustive list.

# BACE Knowledge Portion

## Category 10 - Technical Skills & Applications

| 10.01 | Discuss current techniques used in biotechnology and their applications - Focus: Understanding common biotechnology techniques and associated tools, and their basic purpose in research, diagnostics, and biomanufacturing. - Key Skills: - Identify common biotechnology techniques (eg, PCR, qPCR, gel electrophoresis, ELISA, cell culture, chromatography, genetic engineering, DNA sequencing) and their primary functions. - Explain the basic principles behind each technique (eg, DNA amplification, molecular separation, cellular growth, protein purification). - Match techniques to their appropriate application (eg, PCR for genetic testing, chromatography for purification in biomanufacturing). - Identify the tools or components necessary for each technique to function (eg, enzymes, instruments, biological systems). - Application: These techniques are used to support research, testing, and manufacturing. For example, technicians may use cell culture to grow cells, chromatography to purify products, or PCR to detect DNA targets. |
| --- | --- |
| 10.02 | Describe the proper use of microscopes - Focus: Understanding how microscopes work, including their components, optical principles, and appropriate uses. - Key Skills: - Identify microscope components (eg, lenses, stage, focus knobs) and their functions. - Explain the concepts of magnification and resolution (eg, total magnification, image detail). - Describe how light interacts with specimens (eg, absorption, transmission, contrast). - Distinguish between types of microscopes and their uses (eg, light vs electron microscopes). - Application: Microscopes are used to observe cells, tissues, and microorganisms. For example, technicians may use a microscope to monitor cell cultures to assess growth and contamination. |
| 10.03 | Discuss cell staining, and distinguish between Gram positive/negative cells - Focus: Understanding common cell staining techniques and their role in visualizing and differentiating microorganisms. - Key Skills: - Understand the purpose of staining techniques (eg, enhancing contrast, differentiating cell types). - Describe the steps of Gram staining (eg, crystal violet, iodine, alcohol decolorization, safranin counterstain). - Distinguish between Gram-positive and Gram-negative cells based on cell wall structure and staining outcome (ie, purple vs pink appearance). - Accurately interpret stained samples (eg, identifying morphology, grouping, staining characteristics). - Application: Knowledge of staining techniques allows technicians to prepare and analyze microbial samples, differentiate bacteria, and to properly interpret results for applications in diagnostics, research, and laboratory quality control. |
| 10.04 | Describe the process of culturing microorganisms and tissues using aseptic technique - Focus: Understanding the principles required to maintain sterile conditions and support successful cell growth. - Key Skills: - Identify sources of contamination in work environments (eg, airborne particles, improper handling, non-sterile equipment). - Describe environmental factors that can affect cell growth (eg, temperature, pH, nutrient availability). - Identify characteristics of a sterile workspace (eg, laminar flow hoods, disinfected surfaces, minimal airflow disruption). - Recognize indicators of contamination in cultures (eg, unexpected growth, turbidity, color changes). - Application: Culturing techniques are used to grow and maintain cells for research and production. For example, technicians may culture microorganisms for research, testing, or manufacturing. |
| 10.05 | Discuss the differences between sterilization, decontamination, and disinfection - Focus: Understanding methods used to manage microorganisms and maintain safe work environments. - Key Skills: - Distinguish between sterilization, decontamination, and disinfection, and compare their relative levels of effectiveness (ie, elimination of microbes vs reduction of microbial load). - Identify common methods for each process (eg, autoclaving, chemical disinfectants, surface cleaning agents). - Select the appropriate method based on application (eg, sterilizing media vs disinfecting work surfaces). - Application: These processes are essential for maintaining a safe and functional work environment. For example, technicians may sterilize media using an autoclave, disinfect work surfaces before and after use, and decontaminate equipment to prevent cross-contamination. |
| 10.06 | Understand the principle by which a pH meter works - Focus: Understanding the electrochemical and measurement principles underlying pH meters. - Key Skills: - Define pH in terms of hydrogen ion concentration (ie, acidic vs basic solutions based on [H⁺] concentration). - Explain how electrodes detect voltage differences (ie, glass electrode and reference electrode interactions). - Describe how pH readings relate to solution chemistry (eg, changes in acidity affecting reactions and stability). - Recognize sources of measurement error conceptually (eg, calibration issues, temperature effects, contamination). - Application: pH measurement is used to monitor and control conditions in laboratory and manufacturing processes. For example, technicians may measure pH of media or solutions to ensure optimal conditions for reactions or cell growth. |
| 10.07 | Explain the principles of spectrophotometry, including Fourier-transform infrared (FT/IR) spectrophotometry - Focus: Understanding how light absorption and transmission are used to analyze substances. - Key Skills: - Define absorbance and transmittance (ie, the amount of light absorbed versus transmitted through a sample, and how these are displayed in spectrophotometric spectra across UV-Vis and FT/IR techniques). - Explain how wavelength selection affects detection (ie, choosing specific wavelengths for target molecules). - Describe interaction between electromagnetic radiation and molecules (ie, UV-Vis absorption causing electronic excitation, and infrared absorption used in FT/IR causing vibrational motion of chemical bonds). - Identify general applications of light-based measurement (eg, protein quantification, compound identification). - Application: Spectrophotometry is used to quantify and identify substances. For example, technicians may measure protein concentration or use FT/IR to characterize compounds based on their molecular structure. |
| 10.08 | Understand the basic principle of Beer's Law - Focus: Understanding the mathematical relationship between absorbance and concentration. - Key Skills: - State the Beer’s Law equation (ie, absorbance equals concentration multiplied by the path length and coefficient). - Explain proportional relationships between variables (ie, absorbance increasing with concentration). - Interpret absorbance values conceptually (ie, recognizing that higher absorbance generally indicates higher concentration). - Recognize limitations of linear relationships (eg, deviations at high concentrations). - Application: Beer’s Law is used to determine concentrations of substances in solution. For example, technicians can use absorbance measurements and a standard curve to calculate the concentration of DNA or protein samples. |
| 10.09 | Discuss methods of chromosomal and plasmid DNA isolation, purification, and quantification - Focus: Understanding methods used to isolate, purify, and measure DNA from different sources. - Key Skills: - Identify steps in DNA isolation (eg, cell lysis, removal of proteins, DNA precipitation). - Distinguish between chromosomal and plasmid DNA extraction methods (eg, alkaline lysis for plasmids). - Describe purification techniques (eg, chromatography columns, ethanol precipitation). - Measure DNA quantity and quality (eg, spectrophotometry, gel electrophoresis). - Application: DNA isolation, purification, and quantification are fundamental processes used to obtain high-quality DNA for research, testing, and biomanufacturing applications. For example, technicians may extract plasmid DNA for cloning or quantify genomic DNA prior to downstream applications. |
| 10.10 | Discuss gel electrophoresis techniques, including agarose and polyacrylamide gel electrophoresis (PAGE) - Focus: Understanding separation of biomolecules using gel electrophoresis. - Key Skills: - Describe the principle of electrophoresis (ie, movement of charged molecules in an electric field). - Differentiate between agarose and polyacrylamide gels based on their structure, resolution, and application (ie, larger nucleic acids vs proteins and small nucleic acids). - Interpret banding patterns (eg, fragment size comparison, molecular weight estimation). - Application: Gel electrophoresis is used to separate and analyze DNA, RNA, or proteins. For example, technicians may verify PCR products using agarose gels or analyze protein size using PAGE. |
| 10.11 | Understand how restriction enzymes are used - Focus: Understanding the function and application of restriction enzymes in DNA analysis and manipulation. - Key Skills: - Define restriction enzymes and their role (ie, cutting DNA at specific sequences). - Identify recognition sites and the resulting DNA fragments (eg, sticky ends, blunt ends). - Explain how restriction enzymes are used in DNA analysis (eg, fragment mapping). - Recognize their role in recombinant DNA processes (eg, preparing DNA for cloning). - Application: Restriction enzymes are used to cut DNA for analysis and modification. For example, technicians may digest DNA samples to prepare them for cloning or verify fragment sizes. |
| 10.12 | Describe recombinant DNA and cloning techniques - Focus: Understanding the principles of recombinant DNA and basic cloning methods. - Key Skills: - Define recombinant DNA (ie, combining DNA from different sources). - Describe basic cloning steps (eg, insertion into vector, transformation into host cells). - Identify common vectors and host systems (eg, plasmids, bacterial cells, viral vectors, CRISPR, gene therapy). - Recognize selection and screening methods (eg, antibiotic resistance markers, reporter genes). - Application: Recombinant DNA techniques are used to create and study modified genetic material. For example, technicians may clone genes into plasmids for protein expression or research purposes. |
| 10.13 | Describe the mechanism of PCR, including the theory and practical use of conventional and real-time PCR (qPCR) thermal cyclers - Focus: Understanding the principles of DNA amplification using PCR and the operation of thermal cyclers. - Key Skills: - Describe the steps of PCR (eg, denaturation, annealing, extension). - Identify components required for PCR (eg, template DNA, primers, nucleotides, DNA polymerase). - Distinguish between conventional PCR and qPCR (ie, endpoint detection vs real-time fluorescence measurement). - Recognize proper use of thermal cyclers (eg, programming cycles, temperature control, sample preparation). - Application: PCR is used to amplify DNA for analysis and testing. For example, technicians may use PCR to detect specific DNA sequences or use qPCR to quantify DNA in research or diagnostic workflows. |
| 10.14 | Discuss protein expression in model organisms - Focus: Understanding how proteins are produced in model organisms and their role in biotechnology applications. - Key Skills: - Define protein expression and its purpose (ie, producing proteins). - Identify common model organisms (eg, bacteria, yeast, mammalian cells). - Describe basic expression steps (eg, gene insertion, transfection/transformation, host cell selection). - Recognize factors affecting protein expression (eg, promoters, growth conditions). - Application: Protein expression systems are used to produce proteins for research and manufacturing. For example, technicians may express recombinant proteins in cells for analysis, product development, or in biomanufacturing. |
| 10.15 | Discuss methods of molecule/protein isolation, purification, and quantification - Focus: Understanding multi-step strategies used to isolate and purify biomolecules. - Key Skills: - Identify key stages of purification (eg, extraction, separation, elution). - Describe the order and purpose of common protein purification methods (eg, size-, charge-, affinity-based techniques). - Describe the relationship between yield and purity in molecule/protein purification. - Describe common factors that influence molecule/protein purification (eg, sample quality, binding capacity, process conditions). - Application: Protein and molecule analysis is essential in research, quality control, and manufacturing workflows. For example, technicians may purify proteins using chromatography and measure concentration. |
| 10.16 | Understand the principles of enzyme-linked immunosorbent assay (ELISA) and other immunoassays - Focus: Understanding how immunoassays detect and measure specific proteins using antigen-antibody interactions. - Key Skills: - Define immunoassays and their purpose (ie, detecting proteins or antibodies). - Describe the basic steps of ELISA (eg, binding, washing, detection with enzyme-linked antibodies). - Distinguish common ELISA types (eg, direct, indirect, sandwich). - Interpret assay results (eg, color change indicating presence, color intensity allowing calculation of concentration). - Application: Immunoassays are used in research, diagnostics, and quality control to detect specific biomolecules. For example, technicians may use ELISA to measure protein levels or detect antibodies in samples. |
| 10.17 | Understand molecular diagnostics techniques and their applications - Focus: Understanding techniques used to detect genetic material for diagnostic purposes. - Key Skills: - Define molecular diagnostics (ie, detection of DNA or RNA markers). - Identify common techniques (eg, PCR, qPCR, sequencing, hybridization assays). - Explain the purpose of these methods (eg, disease detection, pathogen identification). - Recognize factors affecting test accuracy (eg, sample quality, contamination, controls). - Application: Molecular diagnostics techniques are used to identify genetic material in samples. For example, technicians may use qPCR to detect pathogens or analyze genetic markers in diagnostic testing. |
| 10.18 | Discuss assay development and validation - Focus: Understanding how assays are designed and evaluated for performance. - Key Skills: - Explain the purpose of assay development and validation. - Define assay performance parameters (eg, accuracy, precision, linearity, and rigor). - Explain sensitivity, specificity, and precision (eg, detection limits, target selectivity, repeatability). - Recognize the role of controls in validation (eg, positive and negative controls). - Application: Assay development and validation are used to ensure reliable testing methods. For example, technicians may optimize assay conditions and verify performance before routine use in workflows. |
| 10.19 | Understand the principles and applications of flow cytometry and cell sorting - Focus: Understanding how flow cytometry analyzes and separates cells based on physical and chemical properties. - Key Skills: - Define flow cytometry and its purpose (eg, analyzing cell size, granularity, fluorescence). - Describe basic instrument components (eg, fluidics, lasers, detectors). - Explain cell labeling techniques (eg, fluorescent antibodies, dyes). - Distinguish cell sorting applications (eg, isolating specific cell populations). - Application: Flow cytometry is used to analyze and sort cells. For example, technicians may identify cell populations or isolate specific cells for downstream analysis. |
| 10.20 | Discuss the principles of centrifugation and its applications - Focus: Understanding the physical principles of centrifugation as a separation method. - Key Skills: - Define centrifugation in terms of force and sedimentation (eg, centrifugal force and particle separation). - Explain how physical properties affect separation during centrifugation (eg, density, centrifugation speed). - Predict general separation behavior based on physical principles (ie, denser particles will settle faster than particles that are less dense). - Application: Centrifugation is used to separate cellular components or biomolecules. For example, technicians may use centrifugation to pellet cells or to isolate plasma from blood samples. |
| 10.21 | Understand the basics of chromatography techniques - Focus: Understanding how chromatography separates molecules based on chemical interactions. - Key Skills: - Define stationary (ie, solid phase) and mobile phases (ie, liquid or gas phase). - Explain mechanisms of molecular separation (eg, differences in polarity, size, or affinity). - Distinguish types of chromatography methods (eg, affinity, ion exchange, size exclusion). - Understand separation behavior conceptually (eg, retention time and peak separation). - Application: Chromatography is used to purify and analyze biomolecules. For example, technicians may separate proteins during purification processes. |
| 10.22 | Discuss the transformation or transfection of model organisms - Focus: Understanding methods used to introduce genetic material into cells. - Key Skills: - Define transformation and transfection (ie, DNA uptake in bacteria vs eukaryotic cells). - Identify common methods (eg, heat shock, electroporation, chemical transfection). - Describe key steps in the process (eg, DNA introduction, recovery, selection). - Recognize factors affecting efficiency (eg, cell type, DNA quality). - Application: These techniques are used to introduce new genetic material into cells. For example, technicians may use plasmids to transform bacteria or transfect mammalian cells to express proteins of interest. |
| 10.23 | Understand the principles of lab automation and robotics in biotechnology - Focus: Understanding how automation and robotics improve efficiency and consistency in processes. - Key Skills: - Define lab automation and its purpose (eg, reducing manual processes, increasing throughput). - Identify common automated systems (eg, liquid handlers, robotic arms). - Describe advantages of automation (eg, reproducibility, reduced error). - Application: Automation is used to streamline laboratory and manufacturing workflows. For example, technicians may use automated pipetting systems to prepare samples efficiently and consistently. |
| 10.24 | Demonstrate an understanding of how calibration and validation are critical to producing reliable, consistent results - Focus: Understanding how (1) equipment calibration and validation support accurate measurement and (2) test method validation support accurate measurement. - Key Skills: - Define calibration in measurement systems (ie, aligning instrument readings with known standards). - Describe how test method validation supports reliable and consistent results - Recognize impact of calibration on accuracy (eg, reduction of measurement error and improved reliability). - Describe how equipment validation helps ensure that equipment operates as intended and produces reliable, consistent, and accurate results. - Application: Calibration and validation are used to ensure reliable results. For example, technicians may calibrate instruments regularly and validate methods to maintain consistent performance. |
| 10.26 | Discuss the principles and applications of laminar flow in a cleanroom or manufacturing environment - Focus: Understanding how laminar airflow systems control contamination in clean environments. - Key Skills: - Define laminar flow and its purpose (ie, unidirectional airflow to reduce contamination). - Identify components of laminar flow systems (eg, HEPA filters, airflow hoods). - Describe proper work practices (eg, minimizing disruption of airflow, proper positioning). - Recognize applications in cleanroom environments (eg, sterile processing, product protection). - Application: Laminar flow systems are used to maintain clean environments. For example, technicians may work in laminar flow hoods or controlled spaces to prevent contamination during sample handling or production tasks. |

## Category 11- Safety & Workplace Culture

| 11.01 | Discuss ethics and bioethics in the workplace and society - Focus: Understanding ethical principles and bioethical considerations in a biotechnology workplace. - Key Skills: - Define ethics and bioethics (eg, moral principles, responsible use of biotechnology). - Identify ethical issues in biotechnology (eg, genetic testing, data privacy). - Recognize professional responsibilities (eg, honesty, integrity, compliance, confidentiality). - Apply ethical decision-making (eg, evaluating risks, considering societal impact). - Application: Ethics guides responsible workplace behavior. For example, technicians follow ethical standards when handling data, conducting experiments, and reporting results. |
| --- | --- |
| 11.02 | Describe appropriate workplace behaviors - Focus: Understanding professional behaviors expected in biotechnology environments - Key Skills: - Identify professional conduct (eg, punctuality, respect, responsibility). - Demonstrate effective communication (eg, clear reporting, active listening, giving/receiving feedback or constructive criticism). - Recognize teamwork expectations (eg, collaboration, role adherence). - Maintain accountability (eg, completing tasks, following procedures). - Application: Appropriate behaviors support efficient and compliant workplace function. For example, technicians communicate clearly and follow expectations to ensure tasks are completed accurately and in a timely manner. |
| 11.03 | Identify proper workplace safety behaviors - Focus: Understanding individual behaviors that reduce risk in work environments. - Key Skills: - Identify safe vs unsafe behaviors (eg, proper PPE use and avoiding risky handling practices). - Recognize personal responsibility for safety (eg, following protocols). - Describe situational awareness in hazard detection (eg, identifying spills, obstructions, and warning signs). - Interpret consequences of unsafe actions (eg, exposure, contamination, accidents). - Application: Safety behaviors reduce risk of accidents. For example, technicians follow procedures and report hazards to maintain a safe work environment. |
| 11.04 | Identify safety symbols - Focus: Understanding common laboratory and workplace safety symbols. - Key Skills: - Identify hazard symbols (eg, biohazard, flammable, corrosive). - Interpret warning labels (eg, hazard level, precautionary statements). - Recognize PPE symbols (eg, gloves required, eye protection). - Apply symbol meaning to workplace actions (eg, handling materials safely). - Application: Safety symbols communicate hazards. For example, technicians use posted symbols to identify risks and apply appropriate precautions. |
| 11.05 | Identify and explain proper use of safety equipment - Focus: Understanding common safety equipment and its role in protecting personnel. - Key Skills: - Identify safety equipment (eg, eyewash stations, safety showers, fire extinguishers). - Describe proper use (eg, activating eyewash, operating extinguishers). - Maintain proper access to emergency safety equipment. - Application: Safety equipment protects personnel during incidents. For example, technicians need to know how to use eyewash stations and extinguishers in case of an emergency. |
| 11.06 | Identify and properly use Personal Protective Equipment (PPE) - Focus: Understanding the role and proper use of PPE in maintaining a safe work environment. - Key Skills: - Identify types of PPE (eg, gloves, lab coats, goggles). - Select appropriate PPE (eg, according to chemical or biological hazards). - Demonstrate proper use (eg, donning, doffing, disposal). - Recognize limitations of PPE (eg, not a substitute for safe practices). - Application: PPE minimizes exposure to hazards. For example, technicians wear gloves and eye protection when handling chemicals or biological materials. |
| 11.07 | Exercise proper safety protocols - Focus: Understanding structured safety procedures used to control hazards. - Key Skills: - Differentiate between the biosafety levels. - Understand PPE requirement for each biosafety level. - Identify the correct sequence of steps in a written safety protocol. - Recognize when a task should be halted because required safety conditions have not been met. - Application: Safety protocols ensure appropriate protection at each biosafety level. For example, technicians wear increasingly protective PPE as biosafety levels increase from BSL-1 to BSL-4. |
| 11.08 | Describe proper handling of biological and hazardous waste - Focus: Understanding safe handling and disposal of biological and hazardous waste. - Key Skills: - Identify types of waste (eg, biohazard, chemical, sharps). - Describe disposal methods (eg, biohazard bags, sharps containers). - Follow labeling and segregation procedures (eg, separating waste types). - Apply safety precautions (eg, avoiding exposure, proper containment). - Application: Proper waste handling reduces the risk of contamination and injury. For example, technicians dispose of biological waste in biohazard bags and segregate chemical waste into designated containers. |
| 11.09 | Explain the importance of posting and complying with signage - Focus: Understanding the role of signage in communicating hazards and procedures. - Key Skills: - Identify types of signage (eg, hazard warnings, restricted areas). - Interpret posted instructions (eg, required PPE, safety procedures). - Recognize importance of visibility (eg, clear placement, readability). - Comply with signage requirements (ie, following posted precautions). - Application: Signage promotes safety awareness. For example, technicians follow posted instructions to use PPE or avoid restricted areas. |
| 11.10 | Describe the procedures for safe handling and storage of chemicals - Focus: Understanding safe practices for handling and storing chemicals. - Key Skills: - Identify chemical hazards (eg, flammable, toxic, corrosive). - Apply safe handling procedures (eg, using PPE, proper transfer methods). - Describe storage requirements (eg, labeling, compatibility, temperature control). - Application: Safe chemical handling prevents accidents. For example, a technician working with an acid, base, or flammable substance would return the stock bottle to its designated storage location after use. |
| 11.11 | Derive information from Safety Data Sheets (SDS) - Focus: Understanding how to read and use Safety Data Sheets. - Key Skills: - Identify key SDS sections (eg, hazards, handling, first aid). - Interpret hazard classifications (eg, signal words, pictograms). - Locate handling and storage instructions (eg, safe use practices). - Apply SDS information to workplace actions (eg, selecting PPE). - Application: SDS provides critical safety information. For example, technicians review SDS to determine hazards and proper handling procedures. |
| 11.12 | Discuss key OSHA regulations applicable to biotechnology workplaces - Focus: Understanding major OSHA regulations that impact laboratory and manufacturing safety. - Key Skills: - Identify relevant OSHA standards (eg, hazard communication, PPE requirements). - Describe employer and employee responsibilities (eg, training, compliance). - Recognize importance of documentation (eg, training records, incident logs). - Application: OSHA regulations ensure workplace safety. For example, technicians follow hazard communication standards and safety training requirements. |
| 11.13 | Describe proper lockout/tagout procedures for machinery and equipment - Focus: Understanding procedures used to prevent unexpected equipment start-ups or hazards. - Key Skills: - Define lockout/tagout (ie, isolating energy sources). - Identify equipment requiring lockout (ie, machinery with stored energy). - Describe procedure steps (eg, shutdown, lock placement, verification). - Recognize safety responsibilities (ie, authorized personnel only). - Application: Lockout/tagout prevents injury. For example, technicians must recognize properly locked out/tagged out equipment to avoid unexpected electrocution or physical injury. |
| 11.14 | Describe emergency response procedures for fires, chemical spills, or other incidents - Focus: Understanding appropriate responses to emergencies. - Key Skills: - Identify types of emergencies (eg, fire, chemical spill, exposure). - Describe response procedures (eg, evacuation, containment, notification). - Recognize use of emergency equipment (eg, alarms, extinguishers). - Follow reporting protocols (eg, notifying supervisors, documenting incidents). - Application: Emergency procedures are established to protect personnel. For example, technicians respond appropriately to spills or evacuate during fire alarms. |
| 11.15 | Discuss the process for reporting safety concerns and hazards, including near misses - Focus: Understanding reporting procedures for proactive prevention of accidents. - Key Skills: - Identify reportable events (eg, hazards, near misses). - Recognize importance of timely reporting (eg, preventing recurrence). - Maintain documentation (eg, incident reports, corrective actions). - Application: Reporting improves safety. For example, technicians report near misses to prevent future incidents. |
| 11.16 | Discuss the importance of proactive safety communication - Focus: Understanding how communication supports a proactive safety culture. - Key Skills: - Identify effective communication methods (eg, meetings, reports, signage). - Share safety information effectively (eg, clear and timely updates). - Recognize importance of feedback (eg, reporting concerns, providing suggestions). - Promote a safety culture (eg, encouraging open communication). - Application: Communication supports safe operations. For example, technicians follow safety guidance to prevent workplace injury. |
| 11.17 | Understand the importance of comprehensive training and safety training in biotechnology workplaces - Focus: Understanding the role of training in ensuring competency and safety. - Key Skills: - Identify types of training (eg, safety, technical, compliance). - Describe training requirements (eg, initial and ongoing training). - Recognize importance of competency (eg, skill verification). - Maintain training records (eg, documentation, certifications). - Application: Training ensures safe and effective work. For example, technicians complete required training before performing tasks independently. |
| 11.18 | Properly label items, including solutions, buffers, Petri plates, samples, and products - Focus: Understanding labeling requirements for materials in laboratory and manufacturing environments. - Key Skills: - Identify labeling requirements (eg, contents, date, initials). - Apply proper labeling practices (eg, clear, legible labels). - Recognize importance of traceability (eg, tracking samples). - Follow standard procedures (eg, labeling before use or storage). - Application: Proper labeling ensures accuracy and safety. For example, technicians label samples and solutions to prevent errors and maintain traceability. |

## Category 12 - Biochemistry & Molecular Biology

| 12.01 | Understand the chemistry of molecules and macromolecules - Focus: Understanding the structure and properties of biological molecules. - Key Skills: - Identify major macromolecules (eg, carbohydrates, proteins, lipids, nucleic acids). - Describe basic chemical structures (eg, monomers, polymers, functional groups). - Explain properties influencing behavior (eg, polarity, solubility, bonding). - Recognize biological functions (eg, energy storage, structural support, information storage). - Application: Molecular chemistry underlies research, Quality Control (QC), and manufacturing processes. For example, technicians should understand that a non-polar molecule will not easily dissolve in a polar solvent. |
| --- | --- |
| 12.02 | Describe DNA structure and function - Focus: Understanding the structure of DNA and its role in storing genetic information. - Key Skills: - Identify DNA components (eg, nucleotides, sugar-phosphate backbone). - Describe double helix structure (eg, complementary base pairing, antiparallel strands). - Explain DNA function (eg, genetic information storage, replication). - Recognize DNA stability factors (eg, hydrogen bonding, sequence composition). - Application: Knowledge of DNA structure helps technicians understand how genetic information is stored and utilized. For example, understanding that DNA consists of complementary nucleotide sequences enables technicians to recognize how genetic information is encoded, replicated, and used in laboratory testing and manufacturing processes. |
| 12.03 | Describe transcription - Focus: Understanding how genetic information is transcribed from DNA to RNA. - Key Skills: - Define transcription (ie, synthesis of RNA from a DNA template). - Identify key components (eg, RNA polymerase, promoter regions). - Describe transcription steps (eg, initiation, elongation, termination). - Recognize RNA types (eg, mRNA, tRNA, rRNA). - Application: Transcription is essential for gene expression. For example, technicians may work with RNA in studies involving gene activity or expression levels. |
| 12.04 | Describe translation and gene expression - Focus: Understanding how proteins are synthesized from RNA and how genes are expressed. - Key Skills: - Define translation (ie, protein synthesis from mRNA). - Identify key components (eg, ribosomes, tRNA, amino acids). - Describe translation steps (eg, initiation, elongation, termination). - Recognize gene expression regulation (eg, translational control). - Application: Translation drives protein production. For example, technicians may work with expression systems to produce proteins for research or manufacturing. |
| 12.05 | Describe protein structure and function - Focus: Understanding different levels of protein structure and their relationship to function. - Key Skills: - Identify protein structure levels (ie, primary, secondary, tertiary, quaternary). - Describe bonding interactions (eg, hydrogen bonds, disulfide bonds). - Explain structure-function relationships (eg, shape determining activity). - Recognize factors affecting structure (eg, temperature, pH, denaturation). - Application: Protein structure impacts function. For example, technicians should understand that disruption of a protein’s structure can reduce or eliminate its normal function. This information can be used to interpret how environmental conditions affect protein stability and activity. |
| 12.06 | Explain how enzymes function and affect reaction rates - Focus: Understanding enzyme activity and its role in catalyzing biological reactions. - Key Skills: - Define enzymes and their function (ie, biological catalysts). - Describe enzyme-substrate interactions (eg, active site, specificity). - Explain factors affecting activity (eg, temperature, pH, substrate concentration). - Interpret enzyme kinetics concepts (eg, reaction rate, saturation). - Application: Enzymes are biological catalysts that regulate the rate of biochemical reactions. For example, technicians should recognize that factors such as temperature, pH, and inhibitors can increase or decrease enzyme activity, thereby affecting reaction rates. |
| 12.07 | Understand cell settling and centrifugation techniques - Focus: Understanding how centrifugation is used to separate biological components. - Key Skills: - Identify biological components separated by centrifugation (eg, cells, organelles, and proteins). - Explain how centrifugation supports cell fractionation (ie, separation by size and density). - Distinguish between materials found in the pellet and supernatant after centrifugation (eg, cell debris vs soluble media components). - Evaluate separation results in biological workflows (eg, purity of fractions, separation efficiency). - Application: Centrifugation is used to separate components. For example, technicians may use centrifugation to isolate cells or organelles for analysis, or as a clarification step to begin purification processes. |
| 12.08 | Discuss proper techniques for mixing solutions and preparing reagents - Focus: Understanding techniques in preparation of solutions and reagents. - Key Skills: - Understand solution/reagent preparation techniques (eg, measuring device, adding components in the correct order, dissolving, bringing to volume). - Explain why the above techniques are important in the preparation process. - Understand why appropriately labeled containers (eg, concentration, date, storage conditions) of prepared solutions/reagents are critical for success. - Application: Accurate preparation of solutions and reagents relies on proper technique. For example, technicians use established procedures to measure, mix, and document materials, ensuring consistent and reliable results. |
| 12.09 | Understand the general physiology of cells - Focus: Understanding basic cell functions and processes. - Key Skills: - Identify cell structures (eg, cell membrane, nucleus, cytoplasm, and organelles). - Describe basic cellular processes (eg, transport, energy use, signaling, growth, cell division). - Recognize observable indicators of cell health and condition (eg, cell morphology, cell confluence, attachment). - Application: Understanding cell physiology helps interpret whether cells are functioning and growing as expected. For example, technicians can evaluate cell morphology and report observations that differ from established expectations. |
| 12.10 | Explain the interaction between cells, and between cells and their environment - Focus: Understanding how cells communicate and interact with their surroundings. - Key Skills: - Describe cell communication (eg, signaling pathways, receptors). - Identify interactions between cells (eg, adhesion, communication). - Explain environmental influences (eg, nutrients, stress conditions). - Recognize responses to stimuli (eg, growth, differentiation). - Application: Cell interactions affect outcomes in experiments and processing. For example, technicians can observe cell responses to environmental changes. |
| 12.11 | Understand the genetics of model organisms - Focus: Understanding genetic principles using model organisms. - Key Skills: - Identify common model organisms (eg, bacteria, yeast, mice). - Describe basic genetics concepts (eg, genes, alleles, inheritance). - Explain use in research (eg, studying gene function). - Recognize advantages of model systems (eg, simplicity, reproducibility). - Application: Model organisms support research. For example, technicians may use bacterial or yeast systems to study gene function. |
| 12.12 | Discuss monoclonal antibody (mAb) production and applications - Focus: Understanding how monoclonal antibodies (mAbs) are produced and used. - Key Skills: - Define mAbs (ie, antibodies from a single cell line). - Describe production methods (eg, hybridoma technology). - Identify applications (eg, diagnostics, therapeutics). - Recognize factors affecting production (eg, cell growth, purification). - Application: mAbs are widely used in biotechnology. For example, technicians may assist in production or use mAbs in assays. |
| 12.13 | Understand the role of mRNA in cellular function and therapeutics - Focus: Understanding how mRNA functions in protein synthesis and its use in modern therapeutics. - Key Skills: - Define mRNA and its role (ie, carrying genetic information for protein synthesis). - Identify therapeutic uses (eg, mRNA vaccines). - Recognize stability and delivery considerations (eg, degradation, encapsulation). - Application: mRNA is used in research and therapeutics. For example, technicians may work with mRNA in vaccine or gene expression studies. |
| 12.14 | Discuss immunotherapy types and applications, such as CAR-T cells and mAb - Focus: Understanding different immunotherapy approaches and their applications. - Key Skills: - Define immunotherapy (ie, using the immune system to treat disease). - Identify types (eg, CAR-T cells, monoclonal antibodies). - Describe mechanisms (eg, targeting specific cells, immune activation). - Recognize applications (eg, cancer treatment, targeted therapies). - Application: Immunotherapies are used in modern medicine. For example, technicians may support production or testing of CAR-T cells or antibody therapies. |

## Category 13 - Regulation & Quality

| 13.01 | Discuss regulatory agencies governing the manufacture and distribution of biotechnology-derived products - Focus: Understanding the role of regulatory agencies in overseeing biotechnology products. - Key Skills: - Identify major regulatory agencies (eg, FDA, EPA, USDA). - Describe agency roles (eg, product approval, safety monitoring). - Recognize regulatory scope [eg, drugs, biologics, medical devices, GMO (BE) crops]. - Understand compliance expectations (eg, adherence to regulations). - Application: Regulatory agencies ensure product safety and quality. For example, technicians follow regulations and guidelines that align with regulatory requirements during production and testing. |
| --- | --- |
| 13.02 | Outline the role of various departments in a company, including Research and Development, Quality Assurance, Quality Control, and Manufacturing - Focus: Understanding how different departments contribute to biotechnology operations. - Key Skills: - Identify department roles [eg, Research and Development (R&D), Quality Assurance (QA), Quality Control (QC), Manufacturing]. - Describe responsibilities (eg, product design, testing, production). - Recognize interactions between departments (eg, handoffs, document flow, communication). - Understand workflow progression (QC tests raw material, manufacturing uses raw materials, QC tests in process samples & products, and then QA reviews records and results to determine rejection or release of product). - Application: Departments work together to ensure product development and quality. For example, technicians support QC testing or manufacturing processes within a coordinated system. |
| 13.03 | Understand the purpose of good laboratory practices (GLPs) in product testing - Focus: Understanding the principles of GLP in ensuring reliable laboratory testing for preclinical studies. - Key Skills: - Define GLP and its purpose (ie, ensuring reliable and reproducible test results). - Identify key components (eg, documentation, standard procedures). - Recognize importance of traceability (eg, data recording, sample tracking). - Apply GLP concepts (eg, consistent procedures, accurate records). - Application: GLP ensures data reliability. For example, technicians follow standardized procedures and maintain accurate records during testing. |
| 13.04 | Understand the purpose and importance of current good manufacturing practices (CGMPs) - Focus: Understanding principles that ensure consistent manufacturing and product quality. - Key Skills: - Define CGMP and its purpose (ie, ensuring product quality). - Identify key principles (eg, documentation, process control, training). - Recognize importance of accuracy and completeness - Apply CGMP practices (eg, following SOPs, maintaining records). - Application: CGMP ensures consistent product quality. For example, technicians follow controlled procedures that support manufacturing and testing processes. |
| 13.05 | Follow practices associated with regulatory compliance - Focus: Understanding practices that ensure compliance with regulations. - Key Skills: - Identify compliant practices (eg, following SOPs, proper documentation) - Recognize the need for additional review and approval (eg, IRBs, IACUC). - Recognize non-compliant behaviors (eg, incomplete records, improper PPE). - Follow established procedures (eg, approved workflows). - Application: Compliance ensures regulatory adherence. For example, technicians follow procedures and document work accurately to meet requirements. |
| 13.06 | Discuss key components of good documentation practices (GDocP), including contemporaneous documentation, controlled documents, and approvals. - Focus: Understanding proper document completion, correction, control, review, approval, version, and effective-date requirements - Key Skills: - Identify common controlled documents (eg, SOPs, forms, logbooks, batch records, test records, work instructions). - Identify the purpose of review, approval, and document control. - Recognize document control elements (eg, document number, revision number, effective date, approval status, and review date). - Identify proper correction methods (eg, single-line strikeout, date, initials, and explanation when required). - Application: Good documentation supports controlled records. For example, technicians use approved forms, complete required fields, correct errors properly, and verify version status. |
| 13.07 | Identify the proper use and essential elements of CGMP documents, such as SOPs, batch records, logs, and deviation reports. - Focus: Understanding key CGMP documents and their purpose in maintaining compliance. - Key Skills: - Identify document types (eg, SOPs, batch records, logs, deviation reports). - Describe essential elements (eg, instructions, data fields, approvals). - Apply proper documentation practices (eg, accurate entries, corrections). - Recognize importance of recordkeeping (eg, traceability, audits). - Application: CGMP documents support quality systems. For example, technicians complete issued batch records and logs during production processes to provide contemporaneous data for quality review. |
| 13.08 | Explain the research and development process for regulated products such as biopharmaceuticals and medical devices - Focus: Understanding stages of R&D for regulated products. - Key Skills: - Identify major stages of regulated product development (eg, discovery, design, preclinical testing). - Identify major testing phases (eg, safety testing, performance testing, efficacy evaluation). - Recognize common R&D documentation (eg, protocols, study records, design records, reports). - Recognize key activities involved in transitioning from development to manufacturing (eg, scale-up, process transfer). - Application: R&D supports product development. For example, technicians assist with studies and testing during development phases. |
| 13.09 | Explain the FDA approval process for regulated products such as biopharmaceuticals and medical devices - Focus: Understanding the approval pathway for regulated products. - Key Skills: - Identify approval stages (eg, IND submission, clinical trials). - Describe evaluation criteria (eg, safety, efficacy, quality). - Recognize documentation requirements (eg, regulatory submissions). - Understand post-approval monitoring (eg, safety reporting). - Application: Approval processes ensure product safety. For example, technicians support data collection and documentation used in submissions. |
| 13.10 | Outline the manufacturing process in bioprocessing and production facilities - Focus: Understanding the overall sequence, facility flow, and handoffs in biotechnology manufacturing. - Key Skills: - Identify the typical workflow of a biotechnology manufacturing process, from receipt of released material to final product handling (eg, receipt of released materials, stage materials in designated manufacturing zones, sterilize materials as needed, utilize materials in production, quarantine manufactured product, perform product testing, product disposition). - Identify how materials, personnel, equipment, and documents move through a production facility. - Recognize the purpose of production support activities, such as material preparation, environmental controls, cleaning, labeling, and in-process checks. - Application: Manufacturing workflows organize production activities from start to finish. For example, technicians follow facility flow, prepare materials, support production areas, and complete required handoffs. |
| 13.11 | Discuss Upstream and Downstream processing including the key steps and equipment involved in each process - Focus: Understanding the general steps of upstream and downstream processes, unit operations, and related equipment. - Key Skills: - Define upstream processing as activities used to grow, expand, or produce biological material. - Define downstream processing as activities used to harvest, separate, purify, or concentrate product. - Identify examples of upstream equipment, such as bioreactors, incubators, mixers, and cell culture vessels. - Identify examples of downstream equipment, such as centrifuges, filtration systems, chromatography systems, purification skids, and filling machines. - Application: Upstream and downstream processes create and refine biological products. For example, technicians support cell growth activities and assist with harvest, filtration, or purification steps. |
| 13.12 | Describe Environmental Monitoring in a controlled space - Focus: Understanding monitoring practices used to maintain controlled environments. Emphasis is on contamination control. - Key Skills: - Define environmental monitoring (eg, measuring contamination levels). - Identify monitoring methods (eg, air sampling, surface testing). - Recognize acceptable limits (eg, microbial counts). - Apply response actions (eg, cleaning, corrective measures). - Application: Monitoring ensures control of clean environments. For example, technicians may collect air and surface samples to assess cleanliness in controlled areas. |
| 13.13 | Understand the importance of audits and CAPA to ensure compliance and continuous improvement - Focus: Understanding audit processes and CAPA systems. - Key Skills: - Define audits (eg, internal, external reviews). - Describe CAPA (ie, corrective and preventive actions). - Identify root cause analysis (ie, identifying sources of issues). - Recognize continuous improvement practices (eg, process changes). - Application: Audits and CAPA improve quality systems. For example, technicians support corrective actions after identifying issues. |
| 13.14 | Discuss ALCOA principles and FDA guidelines on data integrity and compliance - Focus: Understanding ALCOA principles, data integrity controls, audit trails, and risks to trustworthy, regulated records. - Key Skills: - Define ALCOA principles (ie, attributable, legible, contemporaneous, original, accurate). - Identify data integrity practices (eg, secure records, audit trails). - Identify data integrity concerns (eg, backdating, shared logins, deleted records, missing audit trails, or unauthorized changes). - Recognize the purpose of audit trails, original records, metadata, record retention, and controlled access. - Application: Data integrity ensures trustworthy records. For example, technicians follow ALCOA principles, use secure access, preserve original records, and report data integrity concerns. |
| 13.15 | Discuss strategies for maintaining security of sensitive data and Intellectual property - Focus: Understanding methods for protecting sensitive information. - Key Skills: - Identify sensitive data (eg, proprietary data, research results). - Apply security practices (eg, passwords, restricted access). - Recognize confidentiality requirements (eg, non-disclosure policies). - Prevent data breaches (eg, secure handling, proper storage). - Application: Data security protects intellectual property. For example, technicians follow protocols to safeguard sensitive information. |
| 13.16 | Describe the significance of HIPAA compliance and the protection of personal health information - Focus: Understanding HIPAA requirements and protection of personal health information. - Key Skills: - Define HIPAA and its purpose (ie, protecting private health information). - Identify protected information (eg, patient data, medical records). - Apply privacy practices (eg, limiting access, secure storage). - Recognize consequences of non-compliance (eg, legal penalties). - Application: HIPAA ensures patient privacy. For example, technicians handle health-related data in compliance with privacy regulations. |

# BACE Practical Portion

## Category 14 - Biotechnology Skills

| 14.01 | Accurately measure liquids with micro and macro scale equipment - Focus: Performing accurate liquid measurements using appropriate equipment. - Key Skills: - Select appropriate measuring equipment based on volume and usage (eg, micropipette, graduated cylinder, volumetric flask). - Perform liquid measurements accurately (eg, setting micropipette, reading meniscus at eye level). - Verify measurement accuracy (eg, matching volume to equipment range, checking calibration date). - Record measurements correctly (eg, documenting volume with correct units and precision). - Application: Accurate liquid measurement is essential for all procedures. For example, technicians measure and transfer liquids to prepare solutions, perform assays, and support manufacturing. |
| --- | --- |
| 14.02 | Accurately measure mass using electronic balances - Focus: Obtaining precise and reliable mass measurements using a properly prepared balance. - Key Skills: - Measure mass accurately using a balance that is calibrated and ready for use. - Minimize environmental factors that may affect readings (eg, airflow, vibration, temperature fluctuations). - Apply good weighing practices (eg, using weigh boats, avoiding contamination) - Ensure readings are stable before recording measurements. - Application: Mass measurement supports preparation of reagents and samples. For example, technicians weigh materials for solution preparation, experimental procedures, and to support manufacturing. |
| 14.03 | Properly prepare solutions and buffers - Focus: Preparation of solutions and buffers with accurate concentrations. - Key Skills: - Measure and combine components (eg, weighing solutes, adding solvents). - Mix solutions properly (eg, stirring, dissolving completely). - Application: Solution preparation is required for many tasks. For example, technicians prepare buffers for assays, cell culture, research, quality control, and manufacturing processes. |
| 14.04 | Properly measure and adjust the pH of a solution with a pH meter - Focus: Performing precise pH measurements and making controlled chemical adjustments to reach a target value. - Key Skills: - Measure pH using an already-prepared, ready-to-use pH meter. - Adjust solution pH through controlled addition of acids or bases. - Apply incremental adjustment techniques to avoid overshooting target pH. - Verify final stabilized pH results. - Application: Maintaining appropriate pH ensures proper chemical and biological conditions. For example, technicians use pH meters to precisely adjust the pH of solutions according to protocol specifications. |
| 14.05 | Properly perform a serial dilution - Focus: Performing serial dilutions accurately to achieve desired concentration. - Key Skills: - Prepare dilution series (eg, stepwise transfers between tubes). - Prevent cross-contamination (eg, changing tips between steps). - Application: Serial dilutions are used to prepare concentration gradients. For example, technicians dilute samples for assays or microbial plating. |
| 14.06 | Identify and properly handle reagents - Focus: Identifying and handling reagents correctly. - Key Skills: - Select the correct reagent for a procedure. - Identify reagents and their properties (eg, labels, concentrations, lot number, expiration dates). - Proper handling techniques when measuring, transferring, mixing, or preparing reagents to avoid contamination, exposure, or incorrect use. - Application: Proper identification and handling of reagents are essential for safe and effective laboratory and manufacturing procedures. For example, technicians verify reagent labels, concentrations, lot numbers, and expiration dates before measuring and transferring materials to help prevent errors and contamination. |
| 14.07 | Demonstrate proper aseptic/sterile technique - Focus: Executing sterile techniques to maintain contamination-free conditions. - Key Skills: - Prepare sterile workspace (eg, disinfecting surfaces, organizing materials). - Perform aseptic transfers (eg, minimizing exposure, using sterile tools). - Maintain sterility throughout the procedure (eg, avoiding improper handling, minimizing exposure of sterile materials, avoiding contamination sources). - Application: Aseptic technique is critical for contamination control. For example, technicians transfer cultures or prepare samples without introducing contaminants. |
| 14.08 | Demonstrate proper culturing of microorganisms - Focus: Performing methods to culture microorganisms under controlled conditions. - Key Skills: - Perform inoculation techniques (eg, streaking plates, transferring cultures). - Select and prepare growth media (eg, agar plates, liquid media). - Incubate cultures under appropriate conditions (eg, temperature, time, agitation). - Assess culture growth and contamination status (eg, examining colony morphology, identifying signs of contamination). - Application: Microbial culture supports research, testing, and manufacturing. For example, technicians may grow microorganisms for assays or as seed stock for expansion into bioreactors. |
| 14.10 | Describe the proper use of a centrifuge - Focus: Using centrifugation to effectively separate sample components. - Key Skills: - Load samples appropriately into centrifuge tubes. - Identify components separated after centrifugation (eg, pellet vs supernatant). - Perform proper post-spin handling (eg, decanting, aspirating, resuspending pellets). - Application: Centrifugation separates materials that can be used for analysis or as an early step in product purification. For example, technicians may isolate pellets or collect supernatants for further use. |
| 14.11 | Describe the proper use of a spectrophotometer - Focus: Using spectrophotometry to measure absorbance (or transmittance) and determine concentrations of substances in samples. - Key Skills: - Prepare samples according to analytical requirements (eg, dilution, consistency across samples). - Measure absorbance of samples using a ready-to-use spectrophotometer. - Recognize unreasonable measurement results (eg, negative absorbance, absorbance outside the linear range, values exceeding the highest standard). - Application: Spectrophotometry is used to quantify substances. For example, technicians measure DNA or protein concentrations in biological samples and processes. |
| 14.13 | Describe the proper use and maintenance of biological safety cabinets (BSC) - Focus: Preparing, maintaining, and verifying BSC performance to ensure safe and functional operating conditions. - Key Skills: - Prepare BSC for use (eg, airflow checks, surface disinfection). - Verify proper cabinet function (eg, airflow indicators, alarms, certification awareness). - Perform routine cleaning and decontamination procedures. - Execute proper startup and shutdown processes. - Application: BSCs support the safe handling of biological materials by maintaining controlled airflow and reducing contamination risks. For example, technicians may verify the BSC function, disinfect BSC surfaces, and follow proper startup and shutdown procedures to help ensure safe and effective operation. |
| 14.14 | Demonstrate proper use of electrophoresis equipment - Focus: Using electrophoresis to separate and analyze biomolecules (e.g., DNA, RNA, proteins). - Key Skills: - Select the correct materials for a basic electrophoresis run (eg, gel matrix, running buffer, loading dye). - Load samples into the correct wells with proper technique (eg, avoiding damaging the gel, overfilling wells, or contaminating adjacent lanes). - Run the electrophoresis procedure according to the protocol. - Application: Electrophoresis separates biomolecules for analysis. For example, technicians analyze DNA fragments or proteins by comparing band patterns to standards to determine size or the presence of target molecules. |
| 14.15 | Discuss the role and impact of automation in the biotechnology industry - Focus: Applying understanding of automated systems used in biotechnology workflows. - Key Skills: - Identify automated systems (eg, liquid handlers, robotic platforms). - Operate or simulate automated workflows (eg, setting parameters). - Interpret outputs from automated systems (eg, data results, process logs). - Recognize benefits and limitations (eg, efficiency, need for oversight). - Application: Automation is used throughout biotechnology workflows to improve efficiency, consistency, and throughput. For example, technicians may use automated liquid handling systems or robotic platforms to prepare samples and generate data, where understanding system operation and output helps support accurate and reliable results. |
| 14.16 | Use 24-hour time and ISO date format correctly - Focus: Performing accurate documentation using standardized time and date formats. - Key Skills: - Convert time to 24-hour format (eg, 2:00 PM → 14:00). - Apply ISO date format (ie, YYYY-MM-DD). - Record timestamps accurately (eg, experiments, logs). - Verify documentation consistency (eg, avoiding format errors). - Application: Standardized time and date formats ensure clear and consistent documentation. For example, technicians use 24-hour time and ISO date formats when recording test results or maintaining logs to help ensure records are unambiguous and interpreted correctly. |

## Category 15- Applied Mathematics

| 15.01 | Use scientific notation correctly - Focus: Performing conversions and calculations using scientific notation. - Key Skills: - Convert numbers to scientific notation (eg, 0.00045 → 4.5 × 10⁻⁴). - Convert from scientific notation to standard form (eg, 3.2 × 10³ → 3200). - Perform calculations using scientific notation (eg, multiplication, division). - Verify correctness of numerical magnitude (eg, appropriate exponent use). - Application: Scientific notation is used to manage large and small values. For example, technicians may use scientific notation when calculating concentrations or reporting analytical data, helping ensure values are expressed accurately and interpreted correctly. |
| --- | --- |
| 15.02 | Use significant digits correctly - Focus: Performing calculations and reporting results using appropriate significant figures (digits). - Key Skills: - Identify significant figures in measurements (eg, trailing zeros after decimal points). - Perform calculations with correct significant figures (eg, addition/multiplication rules). - Round results appropriately (eg, maintaining proper precision). - Evaluate reported values for accuracy (eg, avoiding over-reporting precision). - Application: Significant figures help ensure measurements and calculations are reported with the appropriate level of precision. For example, technicians may use significant figure rules when recording measurements and performing calculations to support accurate and consistent results. |
| 15.03 | Understand and use mathematical symbols - Focus: Applying mathematical symbols accurately in calculations and data interpretation. - Key Skills: - Identify common symbols (eg, ±, =, <, >, Σ). - Apply symbols in calculations (eg, expressing uncertainty, limits). - Interpret symbols in equations and data. - Use symbols correctly in documentation (eg, recording measurements). - Application: Mathematical symbols are used to represent relationships, quantities, and calculations in scientific and technical work. For example, technicians may use symbols in equations, data tables, and measurement records to support accurate calculations and effective documentation. |
| 15.04 | Understand and use fractions - Focus: Performing calculations using fractions. - Key Skills: - Convert between fractions and decimals (eg, ¼ → 0.25). - Perform fraction calculations (eg, addition, multiplication). - Apply fractions in ratios and dilutions (eg, 1:10 dilution). - Interpret fractional values in data (eg, proportions). - Application: Fractions are used in calculations and ratios. For example, technicians may apply fractions when preparing dilutions or interpreting results. |
| 15.05 | Use metric measurements and perform metric unit conversions - Focus: Performing metric measurements and converting between metric units. - Key Skills: - Convert between metric units (eg, µL to mL, mL to L, mg to g, g to kg). - Apply appropriate units in measurements (eg, selecting correct scale). - Verify unit consistency in calculations (eg, dimensional analysis). - Application: Correctly using the metric system is essential in the biotech workplace. For example, technicians convert units as needed when preparing solutions, making measurements, and recording data. |
| 15.06 | Generate a graph using collected data - Properly plot data - Focus: Performing data plotting to create accurate graphical representations. - Key Skills: - Select appropriate graph type (eg, line graph, scatter plot). - Plot data points accurately (eg, correct axis placement). - Label axes and units correctly (eg, independent vs dependent variables). - Verify graph accuracy (eg, scale consistency). - Application: Graphing is used to visualize, present, and calculate data. For example, technicians plot experimental results to identify trends, calculate slopes, and illustrate rates of change. |
| 15.07 | Generate a graph using collected data - Interpret data - Focus: Performing interpretation of graphical data. - Key Skills: - Analyze trends in graphs (eg, increasing, decreasing, linear). - Identify outliers (eg, data points outside expected range). - Interpret relationships (eg, correlation between variables). - Application: Graph interpretation supports decision-making. For example, technicians evaluate trends to assess experiment results. |
| 15.08 | Generate a graph using collected data - Generate a standard curve - Focus: Performing standard curve generation and interpolation for quantitative analysis. - Key Skills: - Plot standard data points (eg, concentration vs absorbance). - Identify elements for generating a standard curve. - Use curve to determine unknown values (eg, interpolation). - Verify accuracy of curve (eg, consistency of data points). - Application: Standard curves are used for quantification. For example, technicians determine sample concentration from calibration data. |
| 15.09 | Perform calculations for serial dilutions - Focus: Performing calculations to determine concentrations in serial dilutions. - Key Skills: - Calculate dilution factors (eg, stepwise dilution ratios). - Determine final concentrations (eg, after multiple dilutions). - Apply formulas in calculations (eg, cumulative dilution). - Verify results for consistency (eg, expected concentration trends). - Application: Serial dilution calculations support experimental preparation. For example, technicians calculate concentrations across dilution series. |
| 15.11 | Solution preparation - Solve Dilution Factor calculations (diluting existing solutions) - Focus: Performing dilution calculations using standard formulas. - Key Skills: - Apply dilution equation (ie, C₁V₁ = C₂V₂, M₁V₁ = M₂V₂). - Solve for unknown variables (eg, required volume or concentration). - Set up calculations correctly (eg, unit consistency). - Verify results (eg, expected relationships between variables). - Application: Dilution calculations guide solution preparation. For example, technicians calculate volumes needed to prepare target concentrations. |
| 15.12 | Solution preparation - Solve Molarity solution calculations - Focus: Performing molarity calculations for solution preparation. - Key Skills: - Calculate molarity with provided information (ie, moles of solute per liter of solution). - Convert between mass and moles (eg, using molecular weight). - Determine required quantities (eg, solute mass, solution volume). - Verify unit accuracy (eg, mol/L consistency). - Application: Molarity calculations support solution preparation. For example, technicians prepare solutions with specific concentrations. |
| 15.13 | Solution preparation - Solve Volume/Volume (V/V) solution calculations - Focus: Performing V/V calculations for liquid solutions - Key Skills: - Calculate V/V percentages (eg, mL solute per 100 mL solution). - Determine required volumes (eg, solute and solvent). - Apply ratios in preparation (eg, percent solutions). - Application: V/V calculations are used in solution preparation. For example, technicians prepare liquid mixtures with specified proportions. |
| 15.14 | Solution preparation - Solve Weight/Volume (W/V) solution calculations - Focus: Performing W/V calculations for solid-solute solutions. - Key Skills: - Calculate W/V percentages (eg, grams per 100 mL). - Determine required mass (eg, solute amount for target concentration). - Application: W/V calculations are used when dissolving solids. For example, technicians prepare buffer solutions using measured mass. |
| 15.15 | Describe the relationship between pH measurements and the logarithmic scale - Focus: Performing interpretation of pH values using logarithmic relationships. - Key Skills: - Interpret pH values as logarithmic representations of hydrogen ion concentration. - Apply logarithmic concepts (eg, tenfold change per unit). - Compare pH differences (eg, relative acidity). - Analyze changes in concentration (eg, [H⁺] ion relationships). - Application: pH interpretation supports solution analysis. For example, technicians evaluate pH changes during experiments or production. |
| 15.16 | Apply basic statistical techniques such as mean, median, mode, and standard deviation to analyze data - Focus: Performing basic descriptive statistical calculations using given data. - Key Skills: - Calculate measures of central tendency (eg, mean, median, mode). - Calculate measures of data variability (eg, range, standard deviation). - Select the appropriate descriptive statistic for a given purpose. - Application: Statistics support data analysis. For example, technicians evaluate experimental data to determine reliability and trends. |

## Category 16 - Standard Equipment

| 16.01 | Identify glassware and equipment - Focus: Demonstrating the ability to identify common laboratory glassware and equipment. - Key Skills: - Identify laboratory glassware (eg, beakers, flasks, graduated cylinders). - Match equipment to function (eg, measuring, mixing, heating). - Select appropriate tools for intended tasks (eg, volumetric flask for precise solutions). - Distinguish proper vs improper use (eg, differences in measurement accuracy). - Application: Equipment identification ensures proper task execution. For example, technicians select correct glassware for measurements and procedures. |
| --- | --- |
| 16.02 | Demonstrate proper and safe use of micropipettes & serological pipets - Focus: Performing accurate liquid handling using pipetting devices. - Key Skills: - Select appropriate pipette for intended use (eg, volume range, serological vs micropipette). - Perform correct pipetting technique (eg, first and second stop, angle control). - Avoid contamination (eg, changing tips, proper aspiration). - Verify accuracy (eg, consistent volume delivery). - Application: Accurate pipetting is essential for many procedures. For example, technicians transfer precise volumes for assays and solution preparation. |
| 16.03 | Demonstrate proper and safe use of electronic balances - Focus: Preparing, maintaining, and handling electronic balances to ensure accurate operation and safe laboratory practices. - Key Skills: - Set up the balance correctly (eg, leveling, zeroing/taring before use). - Calibrate the balance to ensure accuracy, using standard weights or by a calibration service. - Follow safe handling procedures to protect the instrument and samples. - Perform routine cleaning and basic troubleshooting of balance issues. - Application: Proper setup and maintenance ensure reliable instrument performance. For example, technicians prepare balances before use to prevent measurement errors and to maintain data integrity. |
| 16.04 | Demonstrate proper and safe use of pH meters - Focus: Preparing the pH meter for use and ensuring accurate, safe, and reliable operation through proper setup and care. - Key Skills: - Calibrate a pH meter using standard buffer solutions. - Inspect electrodes and identify issues (eg, damage, contamination). - Perform proper probe handling, rinsing, and storage procedures. - Apply safety practices when operating and handling the instrument. - Application: Ensuring proper setup and calibration of pH meters maintains accuracy and reliability of measurements. For example, technicians calibrate and inspect pH meters before use to produce valid results and prevent errors or deviations. |
| 16.05 | Demonstrate proper and safe use of equipment stirrers/shakers - Focus: Performing mixing using mechanical stirrers and shakers. - Key Skills: - Select appropriate equipment (eg, magnetic stirrer, orbital shaker). - Set desired operation parameters (eg, speed, duration). - Properly secure samples (eg, clamp or plate placement). - Monitor mixing performance (eg, uniform mixing, no spillage). - Application: Mixing ensures homogenous solutions. For example, technicians use stirrers to prepare reagents and samples. |
| 16.06 | Demonstrate proper and safe use of vortexers - Focus: Performing rapid mixing using vortexers. - Key Skills: - Vortexer operation (eg, pulse vs continuous mixing). - Secure samples properly (eg, tube positioning). - Control mixing intensity (eg, speed adjustments). - Prevent sample loss (eg, avoiding splashing). - Application: Vortexing mixes small samples quickly. For example, technicians use vortexers to homogenize solutions prior to analysis. |
| 16.07 | Demonstrate proper and safe use of water baths - Focus: Performing temperature-controlled thawing and incubation using water baths. - Key Skills: - Set temperature accurately (eg, select correct setpoint). - Place samples properly (eg, ensure proper immersion). - Monitor conditions (eg, evaporation, water level). - Maintain safety (eg, avoid contamination, avoid overheating). - Application: Water baths maintain consistent temperatures. For example, technicians use water baths to incubate samples at specific temperatures. |
| 16.08 | Demonstrate proper and safe use of equipment autoclaves - Focus: Performing sterilization using autoclaves. - Key Skills: - Prepare materials for sterilization (eg, proper containers, labeling). - Load autoclave correctly (eg, adequate spacing, avoiding overloading). - Select appropriate cycle settings (eg, temperature, pressure, time). - Confirm sterilization (eg, indicators, cycle completion). - Application: Autoclaves sterilize equipment, supplies, and media. For example, technicians prepare sterile supplies for use in aseptic processes. |
| 16.09 | Demonstrate proper and safe use of biological safety cabinets - Focus: Applying proper aseptic technique and workflow practices when working inside biological safety cabinets (BSCs). - Key Skills: - Maintain proper hand placement and material flow within the cabinet. - Avoid disrupting airflow during procedures. - Optimize work area organization to preserve sterility and efficiency. - Minimize contamination risk during manipulations. - Application: BSCs are used to help maintain a sterile work environment and reduce contamination risks. For example, technicians may use a BSC when handling cell cultures or sterile materials, where proper workflow and aseptic technique help protect samples/products and maintain process integrity. |
| 16.10 | Demonstrate proper and safe use of fume hoods - Focus: Performing work with hazardous chemicals using fume hoods. - Key Skills: - Maintain effective airflow during use (eg, recognize practices that support or disrupt airflow). - Verify hood operation (eg, airflow indicators). - Select appropriate work practices when using a fume hood. - Application: Fume hoods protect users from hazardous fumes and particles. For example, technicians handle volatile chemicals within fume hoods to maintain a safe work environment. |
| 16.11 | Demonstrate proper and safe use of centrifuges - Focus: Preparing, operating, and maintaining a centrifuge safely to ensure proper function and prevent hazards. - Key Skills: - Inspect centrifuge components (eg, rotor condition, tubes, lid integrity) before use. - Follow proper operating procedures (eg, balancing, securing lid, allowing full stop before opening). - Set and verify operational parameters (eg, speed, time, rotor type) according to safety guidelines. - Apply safety practices and respond to issues (eg, imbalance, unusual noise, spills). - Application: Proper centrifuge setup and operation prevent equipment damage and ensure user safety. For example, technicians correctly prepare and monitor centrifuges to avoid accidents and maintain reliable operation. |
| 16.12 | Demonstrate proper and safe use of spectrophotometers - Focus: Setting up, calibrating, and safely operating a spectrophotometer to ensure accurate and reliable performance. - Key Skills: - Inspect and prepare the instrument (eg, power on, allow warm-up, check cleanliness). - Select and set appropriate wavelength and measurement mode. - Perform instrument calibration and blanking procedures. - Handle cuvettes correctly (eg, orientation, cleaning, avoiding leaving fingerprints). - Application: Proper setup and operation ensure reliable instrument performance. For example, technicians prepare and calibrate spectrophotometers before use to prevent errors and maintain data accuracy. |
| 16.13 | Demonstrate proper and safe use of microscopes - Focus: Operating a microscope correctly to obtain a clear, focused image while following proper handling and care procedures. - Key Skills: - Set up the microscope for use (eg, positioning slide, adjusting light intensity). - Focus specimens using proper techniques (eg, coarse vs fine adjustment). - Appropriately adjust magnification using objective lenses during observation. - Properly maintain equipment (eg, clean lenses, stow microscope when not in use). - Application: Microscopes are used to visualize specimens that cannot be seen with the naked eye. For example, technicians may use a microscope to examine cells during routine procedures; proper use and maintenance support accurate observations and equipment longevity. |
| 16.14 | Demonstrate proper and safe use of electrophoresis equipment - Focus: Apply safety procedures in electrophoresis tasks to prevent electrical and equipment-related hazards. - Key Skills: - Inspect equipment parts before use (eg, lid, cords, electrodes, power supply). - Set up an electrophoresis apparatus correctly (eg, prepare gel, place comb, add appropriate buffer, properly orient the electrodes). - Identify and correct unsafe setup conditions before operation (eg, unsecured lids, exposed electrical connections, damaged cords). - Application: Proper setup and safe operation prevent damage to equipment, loss of samples, and potential injury to personnel. For example, technicians verify equipment condition and verify correct setup before running electrophoresis procedures. |
| 16.15 | Demonstrate proper and safe use of incubators - Focus: Performing sample incubation under controlled conditions. - Key Skills: - Set incubation parameters (eg, temperature, humidity). - Place samples correctly (eg, spacing, orientation). - Monitor conditions (eg, stability, contamination). - Maintain equipment (eg, cleaning, regular calibration). - Application: Incubators provide controlled environmental conditions that support biological growth. For example, technicians use their understanding of incubation parameters to maintain optimal growth conditions. |
| 16.16 | Demonstrate proper and safe use of heat/cool blocks - Focus: Performing temperature-controlled procedures using heat/cool blocks. - Key Skills: - Set temperature accurately (eg, heating or cooling parameters). - Place samples securely (eg, correct tube fit). - Monitor timing and temperature (eg, ensuring consistency). - Prevent overheating or freezing errors (eg, verifying setpoints). - Application: Heat/cool blocks maintain precise and stable temperatures for reactions. For example, a technician may perform a procedure which requires incubating samples at a specific temperature over a specified period. |
| 16.17 | Demonstrate proper and safe use of chromatography equipment - Focus: Operating chromatography systems to separate molecules. - Key Skills: - Prepare chromatography system (eg, column setup, buffer preparation). - Load samples correctly (eg, avoiding overloading). - Operate system (eg, flow rate, wash, elution conditions). - Interpret output (eg, elution peaks, fractions). - Application: Chromatography separates biomolecules. For example, technicians purify proteins or analyze sample composition. |

## Category 17 - Experimental Design & Data Analysis

| 17.01 | Read, interpret, and draw conclusions from technical material, test records, and specification sheets - Focus: Performing interpretation of technical documents and records. - Key Skills: - Interpret technical documents (eg, SOPs, specification sheets, batch records, journal articles). - Extract key data and parameters (eg, limits, conditions, acceptance criteria) - Compare results to specifications (eg, pass/fail criteria). - Draw conclusions based on information. - Application: Technical interpretation supports decision-making. For example, technicians review records and determine whether results meet specifications. |
| --- | --- |
| 17.02 | Discuss good experimental design, including the proper use of controls - Focus: Planning and evaluating experiments using proper design principles - Key Skills: - Identify experimental variables (eg, independent, dependent, controlled). - Select appropriate controls (eg, positive controls, negative controls). - Design basic experiments (eg, defining steps, expected outcomes). - Evaluate experimental setup (eg, identifying potential flaws). - Application: Experimental design ensures defined, reliable results. For example, technicians set up experiments that include proper controls, which reduce experimental errors and ensure test validity. |
| 17.03 | Explain how to maintain a laboratory notebook - Focus: Maintaining accurate and traceable laboratory records. - Key Skills: - Record experimental procedures and data (eg, steps, conditions, materials used). - Document data accurately (eg, observations, results, timestamps). - Apply formatting standards (eg, legible entries, no blank spaces). - Use appropriate procedure for corrections (eg, strikethrough, initials, date). - Application: A good laboratory notebook provides an accurate, complete, and traceable record of laboratory activities. For example, technicians record procedures, materials, conditions, notes, and results for future reference and review. |
| 17.04 | Analyze and interpret data, including the use of statistical analysis - Focus: Performing data analysis and interpretation using statistical methods. - Key Skills: - Apply statistical calculations (eg, mean, standard deviation). - Analyze datasets (eg, identifying trends, variability). - Interpret statistical outputs (eg, consistency, reliability). - Draw conclusions from data (eg, evaluating experimental success). - Application: Data analysis supports informed decisions. For example, technicians evaluate results to determine consistency and validity of experiments. |
| 17.05 | Understand and apply the principles of Responsible Conduct of Research (RCR) - Focus: Applying ethical practices in research and toward research subjects. - Key Skills: - Apply ethical standards (eg, honesty, integrity, objectivity, respect for research participants). - Identify misconduct and conflicts of interest (eg, fabrication, falsification, plagiarism). - Follow research guidelines (eg, proper attribution, compliance). - Make ethical decisions (eg, addressing questionable practices). - Application: Responsible conduct ensures integrity in research. For example, technicians report data accurately and comply with ethical guidelines. |
| 17.06 | Demonstrate proper implementation of data integrity principles - Focus: Applying data integrity principles during laboratory work. - Key Skills: - Record data accurately (eg, contemporaneous entries). - Maintain data traceability (eg, audit trails, version control). - Apply data integrity principles (eg, ALCOA: attributable, legible, contemporaneous, original, accurate). - Identify and correct documentation errors (eg, proper corrections, no data deletion). - Application: Data integrity ensures trustworthy records. For example, technicians maintain accurate documentation in compliance with company protocols to support regulatory standards. |
| 17.07 | Effectively communicate scientific findings - Focus: Performing clear communication of scientific data and results. - Key Skills: - Summarize and present data clearly (eg, key findings, trends, graphs, tables). - Use appropriate terminology (eg, scientific language). - Interpret and explain conclusions (eg, linking data to outcomes). - Identify components of scientific journal articles (eg, title, abstract, methods, results) - Application: Communication supports collaboration and reporting. For example, technicians may present findings in written reports, presentations, or team discussions. |
| 17.08 | Understand applications of Principal Component Analysis (PCA) - Focus: Understanding the purpose of PCA and recognizing how PCA results can be used to summarize and visualize complex datasets. - Key Skills: - Identify the primary purpose of PCA (ie, reducing the number of variables while retaining important information). - Application: PCA helps simplify complex datasets and reveal underlying patterns. For example, technicians recognize that PCA results show trends or differences without the need to see the complete dataset. |
| 17.09 | Identify and analyze sources of error in assay results - Focus: Performing evaluation of assay results to identify errors. - Key Skills: - Identify potential error sources (eg, contamination, instrument error). - Analyze deviations in results (eg, inconsistent data). - Evaluate procedural steps (eg, identifying incorrect techniques). - Propose corrective actions (eg, repeating experiment, adjusting parameters, changing test method). - Application: Error analysis improves data quality. For example, technicians identify issues in assay results and take corrective actions. |
| 17.10 | Discuss the role of sample size and replication for study design - Focus: Performing evaluation of study design factors affecting data reliability. - Key Skills: - Determine appropriate sample size (eg, sufficient data points). - Apply replication strategies (eg, repeated trials). - Evaluate impact on data reliability (eg, variability reduction). - Interpret results with respect to design (eg, confidence in findings). - Application: Study design affects data validity. For example, technicians evaluate whether there is sufficient data to support reliable conclusions. |